HERUI

AMBULANCE STRETCHER

# EMERGENCY TEAMS

# AND PATIENTS DESERVE

# A TRUE

# AMBULANCE STRETCHER

STANDARD FEATURES

Can be folded into a transport chair

It has 5 types of angle position

Length is adjustable pass small elevator

Waterproof PVC mattress

Aluminum backboard

Vest straps for chest,another for knee

Collapsible side rails

Vehicle Locking Device Included

Durable aluminum alloy

TECHNICAL PARAMETER

| MODEL | MATERIAL | PRODUCT SIZE(L*W*H) | CARTON SIZE(L*W*H) | Backrest | Load bearing | N.W | G.W |
| --- | --- | --- | --- | --- | --- | --- | --- |
| YHR-A6 | Aluminium alloy | 192*57*82.5cm | 204*64*30cm | 75° | 325kg | 38.6 | 45 |

TECHNICAL FEATURES

| Technical features | ■ This stretcher can be quickly converted to a wheeled chair,and has 5 types of angle position,the wheeled chair position can meet the needs to operate in narrow space such as small lifts.The length is adjustable,length adjustment adopts bayonet type synchronous folding mechanism. ■The legs of the stretcher can lock automatically when be unloaded from the ambulance. ■Equip with nylon adjustable guardrails and vest type three-point safety belts. ■The mattress is seamless double layers PU material,thickness 50mm. ■Equipped with adjustable two-stage I.V pole,the max adjustable height is 100cm,and equipped with gas-spring support backrest,the patient can quickly transform from sitting to a half-lying or lying position,making it faster to do CPR or tracheal intubation. ■ Paste fluorescent color warning sticker on legs,it can provide strong reflected light ray to perform the warning function. ■Optional accessories:Oxygen bottle holder,Placing planes for defibrillator and ventilator etc. ■Loading height:64cm,Wheel dia.:Φ150mm |
| --- | --- |

OPTIONAL FEATURES

Oxygen holder

Two-stage I.V. pole

Shelves for defibrilatorand ventilator

Color of reflective strips