- 开箱  检查产品外观，相应配件及使用说明书

Open the box and check the appearance of the product, the corresponding accessories and the user manual.

- 新机充电 充电方式：AC  Car 和 太阳能板。请分别接入相应的充电接口。

Charging of the new device: Charging methods include AC, Car, and Solar Panel. Please connect to the corresponding charging ports respectively.

- 便携式太阳能发电机使用操作。

Operation of Portable Solar Generator

开机键→AC键→AC供电的电器（电器额定功率＜便携式太阳能发电机功率）

Power button → AC button → Electrical appliances powered by AC (the rated power of the appliances is less than the power of the portable solar generator)

开机键→DC键→DC供电的电器

Power button → DC button → Electrical appliances powered by DC

开机键→USB键→USB供电的电器

Power button → USB button → Electrical appliances powered by USB

、

祝您生活愉快

wish you a happy life